## BILL NO. 2
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.2 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | FIRE PROTECTION EQUIPMENT |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2.1 |  | FIRE HYDRANTS |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply and install bayonette type outlet, SABS approved fire hydrant, complete with hangers, brackets, painting, testing and commissioning. |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 7 | 10335 | 0 | 72345 | 7950 |  |  |  |  | 7950 | 2385 |  | 10335
|  | Install | ea | 7 | 1105 | 0 | 7735 | 850 |  |  |  |  | 850 | 255 |  | 1105
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
2.2 |  | FIRE HOSE REELS |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply and install SABS approved nonswinging type fire hose reels, with 20mm hose, 30m in lentgh, including all brackets, hangers, painting, testing and commissioning |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 9 | 2795 | 0 | 25155 | 2150 |  |  |  |  | 2150 | 645 |  | 2795
|  | Install | ea | 9 | 845 | 0 | 7605 | 650 |  |  |  |  | 650 | 195 |  | 845
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
2.3 |  | PORTABLE FIRE EXTINGUISHERS |  |  | 0 | q | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply and install SABS approved portable fire extinguishers, including all backing boards, brackets, hangers, painting, testing and commissioning |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply Dry Chemical Powder 4.5kg | ea | 18 | 903.5 |  | 16263 | 695 |  |  |  |  | 695 | 208.5 |  | 903.5
|  | Install | ea | 18 | 143 |  | 2574 | 110 |  |  |  |  | 110 | 33 |  | 143
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2.4 |  | FIRE WATER PIPING |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
2.4.1 |  | Supply and installation of SABS approved galvanised mild steel piping, as per the specification and shown on the drawing, including all hangers, brackets and painting. |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
a |  | Ø100mm |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 60 | 1300 |  | 78000 | 1000 |  |  |  |  | 1000 | 300 |  | 1300
|  | Install | ea | 60 | 383.5 |  | 23010 | 295 |  |  |  |  | 295 | 88.5 |  | 383.5
b |  | Ø32mm |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 40 | 513.5 |  | 20540 | 395 |  |  |  |  | 395 | 118.5 |  | 513.5
|  | Install | ea | 40 | 253.5 |  | 10140 | 195 |  |  |  |  | 195 | 58.5 |  | 253.5
c |  | Ø25mm |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 140 | 383.5 |  | 53690 | 295 |  |  |  |  | 295 | 88.5 |  | 383.5
|  | Install | ea | 140 | 253.5 |  | 35490 | 195 |  |  |  |  | 195 | 58.5 |  | 253.5
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2.4.2 |  | Supply and installation of SABS approved galvanised mild steel fittings including tees, bends, connections, etc. as per the specification and shown on the drawing, including all hangers, brackets and painting. |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
a |  | Ø100mm fittings |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 40 | 903.5 |  | 36140 | 695 |  |  |  |  | 695 | 208.5 |  | 903.5
|  | Install | ea | 40 | 253.5 |  | 10140 | 195 |  |  |  |  | 195 | 58.5 |  | 253.5
b |  | Ø32mm fittings |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 20 | 643.5 |  | 12870 | 495 |  |  |  |  | 495 | 148.5 |  | 643.5
|  | Install | ea | 20 | 249.6 |  | 4992 | 192 |  |  |  |  | 192 | 57.6 |  | 249.6
c |  | Ø25mm fittings |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 30 | 513.5 |  | 15405 | 395 |  |  |  |  | 395 | 118.5 |  | 513.5
|  | Install | ea | 30 | 253.5 |  | 7605 | 195 |  |  |  |  | 195 | 58.5 |  | 253.5
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 439699 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 61557.86 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 501256.86 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## BILL NO. 3
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.3 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
3 |  | FIRE SIGNAGE INSTALLATION |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply and installation of SABS approved photoluminescent signage, complete with aluminium frame, back plates and hanging/mounting brackets as indicated on the drawings and as per the specification. |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
3.1 |  | Directional signage |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 65 | 643.5 |  | 41827.5 | 495 |  |  |  |  | 495 | 148.5 |  | 643.5
|  | Install | ea | 65 | 195 |  | 12675 | 150 |  |  |  |  | 150 | 45 |  | 195
3.1 |  | Equipment signage |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Supply | ea | 65 | 773.5 |  | 50277.5 | 595 |  |  |  |  | 595 | 178.5 |  | 773.5
|  | Install | ea | 65 | 195 |  | 12675 | 150 |  |  |  |  | 150 | 45 |  | 195
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 117455 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 16443.7 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 133898.7 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## PUMPS
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.2 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | PUMPS |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | DIESEL PUMPSET (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of Diesel Pump set | ea | 1 | 1138735 |  | 1138735 | 875950 |  |  |  |  | 875950 | 262785 |  | 1138735
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | ELECTRIC MOTOR PUMPSET (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of Diesel Pump set | ea | 1 | 514735 |  | 514735 | 395950 |  |  |  |  | 395950 | 118785 |  | 514735
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
3 |  | PUMPHOUSE PIPEWORK (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of pump house pipework (including auto start arrangements, direct flow test arrangement, sprinkler protection to pump room etc.) | sum | 1 | 274235 |  | 274235 | 210950 |  |  |  |  | 210950 | 63285 |  | 274235
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
4 |  | JOCKEY PUMP (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of jockey pump to specification. | ea | 1 | 51935 |  | 51935 | 39950 |  |  |  |  | 39950 | 11985 |  | 51935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
5 |  | ANNUNCIATOR PANEL (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of annunciator panel, including Cell Mode. | ea | 1 | 514735 |  | 514735 | 395950 |  |  |  |  | 395950 | 118785 |  | 514735
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
6 |  | ELECTRICAL INSTALLATION (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of all electrical work in the pump house. | ea | 1 | 64935 |  | 64935 | 49950 |  |  |  |  | 49950 | 14985 |  | 64935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
7 |  | SIGNAGE Allow for the production and fixing of all statutory signs on chromadek or similar approved material. | sum | 1 | 12935 |  | 12935 | 9950 |  |  |  |  | 9950 | 2985 |  | 12935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
8 |  | AUXILIARY EQUIPMENT Allow for all auxiliary equipment as specified in this document as well as the ASIB 11th Edition Rules, including valves, fittings, supports, sprinkler protection to pumphouse, etc. | sum | 1 | 38935 |  | 38935 | 29950 |  |  |  |  | 29950 | 8985 |  | 38935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
9 |  | Any Item not listed |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Travel and Accommodation | sum | 1 | 22035 |  | 22035 | 16950 |  |  |  |  | 16950 | 5085 |  | 22035
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 2633215 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 368650.1 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 3001865.1 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## Water Storage Tanks
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.4 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | WATER STORAGE TANKS |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | WATER STORAGE TANKS Supply, delivery, installation, connection, testing and commissioning of cylindrical steel sprinkler water storage tanks, including overflows, suction main to pumphouse, etc. | sum | 1 | 1254704.1 |  | 1254704.1 | 965157 |  |  |  |  | 965157 | 289547.1 |  | 1254704.1
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | TANK INFILL MAINS PIPEWORK Supply, delivery, installation, connection, testing and commissioning of 150mm tank infill mains from existing water reticulation network to water storage tanks. (including breaking in, all valves, bends, fittings, supports, etc.) | sum | 1 | 456235 |  | 456235 | 350950 |  |  |  |  | 350950 | 105285 |  | 456235
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
3 |  | IN-LINE FLOW METER TO TANK INFIL MAINS (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of 150mm tank infill main flow meter (including all breakins, etc.) | sum | 1 | 194935 |  | 194935 | 149950 |  |  |  |  | 149950 | 44985 |  | 194935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 1905874.1 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 266822.374 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 2172696.474 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## BILL NO.5
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.5 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | CONTROL, ALARM, BOOSTING, SIGNAGE AND AUXILIARY ITEMS |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | FIRE WATER INSTALLATION CONTROL VALVE (COMPLETE) Supply, delivery, installation, connection, testing and commissioning of Installation Control Valve assembly Including By-pass Arrangement and direct flow reading device: |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | 150mm Diameter | ea | 1 | 168935 |  | 168935 | 129950 |  |  |  |  | 129950 | 38985 |  | 168935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | SIGNAGE Allow for the production and fixing of the following signs as per the specification in this document: SPRINKLER STOP VALVE INSIDE SPRINKLER BOOSTER CONNECTION PRESSURE LIMIT 1 200 kPa Identification of valves in valve chamber Identification of terminal test valves Schematic block plan on chromadek or similar approved material. | sum | 1 | 7735 |  | 7735 | 5950 |  |  |  |  | 5950 | 1785 |  | 7735
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
3 |  | AUXILIARY EQUIPMENT Allow for all auxiliary equipment as specified in this document as well as the ASIB 11th Edition Rules, including valves, fittings, supports, chains and locks, etc. | sum | 1 | 38935 |  | 38935 | 29950 |  |  |  |  | 29950 | 8985 |  | 38935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 215605 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 30184.7 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 245789.7 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## BILL NO. 6
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.6 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | MAINS |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | MAINS PIPEWORK – DELIVERY Supply, delivery, installation, connection, testing and commissioning of 150mm dia. mains from pump house to tie-in with reticulation system, (including breaking in, all bends, fittings, supports, etc.) excluding trenching and back-filling. | sum | 1 | 384735 |  | 384735 | 295950 |  |  |  |  | 295950 | 88785 |  | 384735
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 384735 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 53862.9 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 438597.9 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## BILL NO.7
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.7 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | SCAFFOLDING AND ERECTION EQUIPMENT |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | SCAFFOLDING Allow for the provision, erection, use, dismantling and transportation of scaffolding in accordance with the requirements of the Occupational Health and Safety Act (Act 85 of 1993). | sum | 1 | 116935 |  | 116935 | 89950 |  |  |  |  | 89950 | 26985 |  | 116935
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | ERECTION EQUIPMENT Allow for any additional erection equipment required for the installation of piping to all portions of the building as indicated on the tender drawings. | sum | 1 | 128635 |  | 128635 | 98950 |  |  |  |  | 98950 | 29685 |  | 128635
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 245570 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 34379.8 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 279949.8 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## BILL NO.8
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | RE : Mandisa Shiceka Clinic BILL NO.8 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | PROJECT ENGINEERING, MANAGEMENT AND CONTROL |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | PROJECT ENGINEERING, MANAGEMENT AND QUALITY CONTROL Allow for project engineering, management and quality control in accordance with the conditions as set out in the contract. | sum | 1 | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | FIRST YEAR’S MAINTENANCE AND GUARANTEE Provide for one year's fee maintenance and guarantee | sum | 1 | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
3 |  | LABOUR, TESTING, COMMISSIONING AND HANDOVER Allow for the required labour to successfully complete the project in accordance with the contract. This amount should include for all labour requirements Including labour required for testing, commissioning and handover. | sum | 1 | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
4 |  | TRAINING, MANUALS, DRAWINGS, ETC. Allow for the required training of system users, production of O&M manuals, “As-Built” drawings and all / any other items required to provide the client with information required to safety operate and maintain the system. | sum | 1 | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
5 |  | APPROVAL ASIB approval of shop drawings and final installation | sum | 1 | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 0 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________

## Summary
Client Details: |  |  | QUOTATION No: JA2018-Mandisa Clinic-Sprinkler
Contact Person: Muhammed Surty |  |  | Date: 23/02/2018
Company: Maxfel |  |  | Sales Consultant: Jivesh Arjun
Cell: 083 655 2917 |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: 014 596 5631/2 Fax: |  |  | Rubeshen: 073 361 323 email: rubeshen@omegafs.co.za
email: msurty@maxfel.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Mandisa Shiceka Clinic | [5 empty] | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 30% Markup | Labour | TOTAL
[5 empty] | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | Summary - Totals carried forward |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | Bill No 1: Preliminaries & General | total | 1 | 439699 |  | 439699 | [5 empty] | 0 | 0 | 439699 | 439699
2 |  | General | total | 1 | 117455 |  | 117455 | [5 empty] | 0 | 0 | 117455 | 117455
3 |  | Pumps | total | 1 | 2633215 |  | 2633215 | [5 empty] | 0 | 0 | 2633215 | 2633215
4 |  | Tanks | total | 1 | 1905874.1 |  | 1905874.1 | [5 empty] | 0 | 0 | 1905874.1 | 1905874.1
5 |  | Control, Alarm, Boosting, Signage and Aux. Items | total | 1 | 215605 |  | 215605 | [5 empty] | 0 | 0 | 215605 | 215605
6 |  | Mains | total | 1 | 384735 |  | 384735 | [5 empty] | 0 | 0 | 384735 | 384735
7 |  | Scaffolding and Erection | total | 1 | 245570 |  | 245570 | [5 empty] | 0 | 0 | 245570 | 245570
8 |  | Project Engineering, Management and Control | total | 1 | 0 |  | 0 | [5 empty] | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 5942153.1 | [5 empty] | 0
|  | VAT: |  |  | 0 | 0 | 831901.434 | 0 |  |  |  |  | 0
|  | Total Incl VAT |  |  | 0 | 0 | 6774054.534 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (30days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________