## Quote1
Client Details: |  |  | QUOTATION No: JA2017-KWAG002
Contact Person: Clemance/ Fortune |  |  | Date: 03/07/2017
Company: Kwaggah |  |  | Sales Consultant: Jivesh Arjun
Cell |  |  | CeII: 084 709 4142 email: jivesh@omegafs.co.za
Tel: Fax: |  |  | Komi: 082 371 9054 email: komi@foag.co.za
email: clemence@kwaggah.co.za / fortune@kwaggah.co.za |  |  | Graham: 082 880 8659 email: graham@foag.co.za
Site |  | Brackpan |  |  |  |  | Page 1 of 2 | EX VAT
ITEM | PART NUMBER | Equipment Description | UNIT | QTY | RATE | Labour | TOTAL | Unit | Item 1 | Item 2 | Item 3 | Item 4 | Sub Total | 20% Markup | Labour | TOTAL
|  | Page 1 of 2 |  |  | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  | 0
|  | Supply and Installation of Smoke and Fire Detection System |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0
0
A |  | Fire Detection |  |  | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [6 empty] | 0
1 |  | Addressable Panel Ziton ZP3 | ea | 3 | 19194.958 | 0 | 57584.874 | 12457.66 |  |  |  |  | 12457.66 | 3737.298 | 3000 | 19194.958
2 |  | 12V 18AH Batteries | ea | 6 | 293.14 | 0 | 1758.84 | 167.8 |  |  |  |  | 167.8 | 50.34 | 75 | 293.14
3 |  | Optical Smoke sensor | ea | 70 | 378.48 |  | 26493.6 | 279.6 |  |  |  |  | 279.6 | 83.88 | 15 | 378.48
4 |  | Standard base | ea | 51 | 112.193 | 0 | 5721.843 | 28.61 |  |  |  |  | 28.61 | 8.583 | 75 | 112.193
5 |  | MCP (manual call point) Indoor | ea | 15 | 316.335 | 0 | 4745.025 | 127.95 |  |  |  |  | 127.95 | 38.385 | 150 | 316.335
6 |  | Sounder & beacon (white) | ea | 7 | 1178.132 | 0 | 8246.924 | 771.64 |  |  |  |  | 771.64 | 231.492 | 175 | 1178.132
|  | Standard base | ea | 7 | 113.753 |  | 796.271 | 29.81 |  |  |  |  | 29.81 | 8.943 | 75 | 113.753
7 |  | Heat Sensor | ea | 3 | 588.088 | 0 | 1764.264 | 317.76 |  |  |  |  | 317.76 | 95.328 | 175 | 588.088
|  | Standard base | ea | 3 | 113.753 |  | 341.259 | 29.81 |  |  |  |  | 29.81 | 8.943 | 75 | 113.753
8 |  | Bundle bosal conduit & fittings 25mm | m | 95 | 55 | 0 | 5225 | [5 empty] | 0 | 0 | 55 | 55
9 |  | PH30 1mm | m | 580 | 18.628 | 0 | 10804.24 | 8.56 |  |  |  |  | 8.56 | 2.568 | 7.5 | 18.628
10 |  | HVAC interface complete with all signal cabling from the HVAC units intergrated with smoke detection system. | ea | 1 | 7974.715 | 0 | 7974.715 | 4980.55 |  |  |  |  | 4980.55 | 1494.165 | 1500 | 7974.715
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
|  | Smoke extraction fans |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
11 |  | Control Panel Ziton ZP3 | ea | 3 | 19194.958 |  | 57584.874 | 12457.66 |  |  |  |  | 12457.66 | 3737.298 | 3000 | 19194.958
12 |  | 12V 18AH Batteries | ea | 6 | 293.14 | 0 | 1758.84 | 167.8 |  |  |  |  | 167.8 | 50.34 | 75 | 293.14
13 |  | Optical Smoke sensor | ea | 149 | 380.231 |  | 56654.419 | 157.87 |  |  |  |  | 157.87 | 47.361 | 175 | 380.231
14 |  | Standard base | ea | 51 | 121.462 |  | 6194.562 | 35.74 |  |  |  |  | 35.74 | 10.722 | 75 | 121.462
15 |  | Sounder & beacon (white) | ea | 8 | 783.4 |  | 6267.2 | 468 |  |  |  |  | 468 | 140.4 | 175 | 783.4
|  | Standard base | ea | 8 | 113.753 |  | 910.024 | 29.81 |  |  |  |  | 29.81 | 8.943 | 75 | 113.753
16 |  | MCP (manual call point) Indoor | ea | 18 | 341.335 |  | 6144.03 | 127.95 |  |  |  |  | 127.95 | 38.385 | 175 | 341.335
17 |  | Heat Sensor | ea | 4 | 605.3 |  | 2421.2 | 331 |  |  |  |  | 331 | 99.3 | 175 | 605.3
|  | Standard base | ea | 4 | 113.753 |  | 455.012 | 29.81 |  |  |  |  | 29.81 | 8.943 | 75 | 113.753
18 |  | Bundle bosal conduit & fittings 25mm | m | 95 | 55 |  | 5225 | [5 empty] | 0 | 0 | 55 | 55
19 |  | PH30 1mm | m | 580 | 18.628 |  | 10804.24 | 8.56 |  |  |  |  | 8.56 | 2.568 | 7.5 | 18.628
20 |  | HVAC interface complete with all signal cabling from the HVAC units intergrated with smoke detection system. | ea | 1 | 7974.715 |  | 7974.715 | 4980.55 |  |  |  |  | 4980.55 | 1494.165 | 1500 | 7974.715
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
B |  | Fire Suppression |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Server and Archive Store |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | 227lt cylinder c/w rack and straps Filled to 229Kgs |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | 3x100Lt Cylinder Assembly Only Excl Gas | ea | 3 | 22467.45 |  | 67402.35 | 13436.5 |  |  |  |  | 13436.5 | 4030.95 | 5000 | 22467.45
|  | 2 inch Valve assembly | ea | 3 | 11198.187 |  | 33594.561 | 8613.99 |  |  |  |  | 8613.99 | 2584.197 |  | 11198.187
|  | Actuator Assembly | ea | 3 | 2025.972 |  | 6077.916 | 1558.44 |  |  |  |  | 1558.44 | 467.532 |  | 2025.972
|  | Mounting Brackets | ea | 3 | 156.845 |  | 470.535 | 120.65 |  |  |  |  | 120.65 | 36.195 |  | 156.845
|  | 50mm Discharge Hose | lot | 3 | 2954.705 |  | 8864.115 | 2272.85 |  |  |  |  | 2272.85 | 681.855 |  | 2954.705
|  | Syphon Alunimium Tubing 50mm | lot | 3 | 290.94 |  | 872.82 | 223.8 |  |  |  |  | 223.8 | 67.14 |  | 290.94
|  | 360° Alunimium 50mm Nozzle, 32mm drilled diaphragm | lot | 8 | 1259.531 |  | 10076.248 | 968.87 |  |  |  |  | 968.87 | 290.661 |  | 1259.531
|  | 40 Bar 32mm Pressure Guage | ea | 3 | 774.592 |  | 2323.776 | 595.84 |  |  |  |  | 595.84 | 178.752 |  | 774.592
|  | HFC 227ea Gas | Lt | 227 | 533 |  | 120991 | 410 |  |  |  |  | 410 | 123 |  | 533
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
2 |  | 3-Zone Extinguishing Panel Ziton ZP 1 | ea | 2 | 4081.757 | 0 | 8163.514 | 2562.89 |  |  |  |  | 2562.89 | 768.867 | 750 | 4081.757
3 |  | Remote Link Support unit panel | ea | 2 | 3381.018 | 0 | 6762.036 | 2023.86 |  |  |  |  | 2023.86 | 607.158 | 750 | 3381.018
4 |  | Optical Smoke Detectors including bases | ea | 14 | 418.906 | 0 | 5864.684 | 157.81 | 29.81 |  |  |  | 187.62 | 56.286 | 175 | 418.906
5 |  | Sounders | ea | 4 | 453.07 | 0 | 1812.28 | 213.9 |  |  |  |  | 213.9 | 64.17 | 175 | 453.07
6 |  | Sounder/Beacon | ea | 4 | 1178.132 | 0 | 4712.528 | 771.64 |  |  |  |  | 771.64 | 231.492 | 175 | 1178.132
7 |  | PH30 Fire Resistant Cable | m | 500 | 18.628 |  | 9314 | 8.56 |  |  |  |  | 8.56 | 2.568 | 7.5 | 18.628
8 |  | Conduit 25mm PVC | m | 150 | 35 |  | 5250 | [5 empty] | 0 | 0 | 35 | 35
0
0
[5 empty] | 0 |  | Page 2 of 2 | [5 empty] | 0 | 0 |  | 0
9 |  | 15lt cylinder c/w rack and straps Filled to 11Kgs. |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | 15Lt Cylinder Assembly Only Excl Gas | ea | 1 | 8167.674 |  | 8167.674 | 5128.98 |  |  |  |  | 5128.98 | 1538.694 | 1500 | 8167.674
|  | 2 Inch Valve Assembly | ea | 1 | 2735.759 |  | 2735.759 | 2104.43 |  |  |  |  | 2104.43 | 631.329 |  | 2735.759
|  | Actuator Assembly | ea | 1 | 2025.972 |  | 2025.972 | 1558.44 |  |  |  |  | 1558.44 | 467.532 |  | 2025.972
|  | 40 Bar 32mm Pressure Guage | ea | 1 | 774.592 |  | 774.592 | 595.84 |  |  |  |  | 595.84 | 178.752 |  | 774.592
|  | Syphon Alunimium Tubing 50mm | lot | 1 | 108.316 |  | 108.316 | 83.32 |  |  |  |  | 83.32 | 24.996 |  | 108.316
|  | HFC 227ea Gas | Lt | 11 | 533 |  | 5863 | 410 |  |  |  |  | 410 | 123 |  | 533
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
C |  | FIRE FIGHTING EQUIPMENT |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
1 |  | 100mm Diameter galvanised steel pipe ( 6m lenghts) | ea | 21 | 1674 |  | 35154 | 1230 |  |  |  |  | 1230 | 369 | 75 | 1674
2 |  | 50mm Diameter galvanised steel pipe (6m lenghts) | ea | 5 | 299.458 |  | 1497.29 | 172.66 |  |  |  |  | 172.66 | 51.798 | 75 | 299.458
3 |  | 25mm Diameter galvanised steel pipe (6m lenghts) | ea | 7 | 470.85 |  | 3295.95 | 304.5 |  |  |  |  | 304.5 | 91.35 | 75 | 470.85
4 |  | Twin Booster Connection | ea | 1 | 26685 |  | 26685 | 19950 |  |  |  |  | 19950 | 5985 | 750 | 26685
5 |  | 100mm Diameter non-return valve | ea | 1 | 4585 |  | 4585 | 2950 |  |  |  |  | 2950 | 885 | 750 | 4585
6 |  | Fire Hydrant complete with 65mm brass right angle fire hydrants incl all | ea | 3 | 3179.7 |  | 9539.1 | 1869 |  |  |  |  | 1869 | 560.7 | 750 | 3179.7
|  | accessories mounted inside cabinets and surface mounted Fire Hose Reels |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
7 |  | 4.5kg ABC STP Fire extinguisher | ea | 10 | 923.3 |  | 9233 | 441 |  |  |  |  | 441 | 132.3 | 350 | 923.3
8 |  | Fire Signage | lot | 32 | 554.209 |  | 17734.688 | 310.93 |  |  |  |  | 310.93 | 93.279 | 150 | 554.209
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
D |  | P & G's |  |  | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Commissioning of System | lot | 1 | 7500 |  | 7500 | [5 empty] | 0 | 0 | 7500 | 7500
|  | C.O.C. Manuals and Schematic Drawings | lot | 1 | 10000 |  | 10000 | [5 empty] | 0 | 0 | 7500 | 7500
|  | Safety, Inductions, Medicals, PPE | lot | 1 | 3500 |  | 3500 | [5 empty] | 0 | 0 | 3500 | 3500
|  | Training-2 Sessions | ea | 2 | 3500 |  | 7000 | [5 empty] | 0 | 0 | 3500 | 3500
|  | Travel | km | 2400 | 4.5 |  | 10800 | [5 empty] | 0 | 0 | 3.99 | 3.99
|  | Sundries | lot | 1 | 1500 |  | 1500 | [5 empty] | 0 | 0 | 1500 | 1500
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 |  | 0 | [5 empty] | 0 | 0 |  | 0
|  | Sub-Total Excl VAT: |  |  | 0 | 0 | 754102.675 | [6 empty] | 0 |  | 0
|  | VAT: |  |  | 0 | 0 | 105574.3745 | 0 | [5 empty] | 0 |  | 0
|  | Total |  |  | 0 | 0 | 859677.0495 | [6 empty] | 0 |  | 0
D |  | NOTE:
The above BOQ is remeasureable
No drawings were supplied and therefore the BOQ could not be varified
No scope of work was supplied and there the BOQ could not be varified
Quanties of standard bases have been increased to accommodate various devices
No specification was supplied for the Fire Panels and therefore a premium brand was proposed in the above BOQ
Due to a lack of information and drawings we cannont varify that the BOQ will meet the SANS 10139 specification
We do not know what the heading "smoke extraction fan" means
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
[5 empty] | 0 | 0 | 0 | [5 empty] | 0 | 0 |  | 0
TERMS & CONDITIONS OF SALE
Validity: Quote valid subject to rate of exchange (7days)
Payment Terms: COD / 30 Days on approved accounts.
Delivery: 1 - 6 Weeks, subject to stock availability.
All pricing quoted, is subject to the exchange rate variations.
All goods / equipment remain the property Omega Fire and Security until paid for completely.
Omega Fire and Security reserves the right to retake posession of all equipment not paid for completely within the payment term set out above
E & O E
Acceptance: (Full Name) _____________________________________________________ Signature: _________________________________
Order / Reference No. :___________________________________________ Date______________________________________